Summer, 2001

Electric Supply & New Generation

Forecasted Peak/Worst Case Peak

& Reserve Margin

Accuracy of Previous Peak Forecasts for

the Summers of 1997 - 2000

New Generation Facilities & Capacity

Since September 15, 2000

Total Energy Produced

By Fuel Type During 1999

Illinois Commerce Commission

Special Open Meeting

April 19, 2001

# Foreword

The attached four exhibits were prepared for the April 19, 2001 Special Open Meeting of the Illinois Commerce Commission considering the adequacy of Illinois electric utilities’ supply for Summer - 2001.  This information was in large measure provided to the Commission by five of the major Illinois electric utilities and by Illinois municipal and cooperative electric energy providers.

Exhibit 1 provides the forecasted peak demand, reserve margin based on the forecasted peak and worst case peak demand as estimated by each such major utility and municipals and cooperatives.

Exhibit 2 compares the forecasted peak and actual peak demand of prior summers by each such major utility.

Exhibit 3 lists by service territory (a) various generation facilities that have come on line since September 15, 2000, (b) facilities under construction that have yet to come on line and (c) generation facilities which have been announced but are not yet under construction.  The utilities, municipals and cooperatives and Commission staff cited various public and other sources as the basis of this information, i.e. journals, articles, etc., and therefore, while the Commission believes the information is generally accurate, the Commission can not warrant its accuracy.

Exhibit 4 reflects the total energy, by fuel type, produced by four of the major Illinois electric utilities, including the Illinois generating assets now owned by Midwest Generation, during calendar year 1999.

Illinois Commerce Commission

April 19, 2001

Exhibit 1:  Forecasted Peak/Worst Case Peak

& Reserve Margin for Summer 2001

| Utility | Forecasted Peak | Reserve Margin | Worst Case Peak |
| --- | --- | --- | --- |
| Ameren | CIPS: 1,987MW UE-Ill: 526MW | CIPS: 18.1% OR 360MW UE-Ill: 16.1% OR 114MW | CIPS: 2,107MW UE-Ill: 640MW |
| CILCO | 1,294MW | 15.33% OR 172MW | 1,351MW |
| ComEd | 21,870MW | 18% OR 4,000MW | 23,600MW |
| Illinois Power | 3,497MW | 18% OR 603MW | 3,737MW |
| MidAmerican | 3,972MW | 21.4% OR 851MW | 4,108MW |
| Cooperatives & Municipalities | Coops: 693MW Munis: No info. | Coops: No info. Munis: No info. | Coops: 715MW Munis: No info. |

Exhibit 2:  Accuracy of Previous Peak Forecasts for

the Summers of 1997 - 2000

| Utility | Year | Forecasted Peak | Actual Peak | MW and Percent Above/(Below) Forecast |
| --- | --- | --- | --- | --- |
| Ameren | 1997 1998 1999 2000 | 1,905MW 1,966MW 1,930MW 1,960MW | 1,831MW 1,969MW 2,034MW 1,987MW | (74MW or 3.88 %) 3MW or 0.15% 104MW or 5.39% 27MW or 1.38% |
| CILCO | 1997 1998 1999 2000 | 1,198MW 1,216MW 1,228MW 1,243MW | 1,135MW 1,195MW 1,235MW 1,285MW | (63MW or 5.26%) (21MW or 1.73%) 7MW or 0.57 42MW or 3.38% |
| ComEd | 1997 1998 1999 2000 | 19,600MW 19,900MW 20,100MW 20,700MW | 18,647MW 19,740MW 22,068MW 20,143MW | (953MW or 4.86%) (160MW or 0.80%) 1,968MW or 9.79% (557MW or 2.69%) |
| Illinois Power | 1997 1998 1999 2000 | 3,473MW 3,405MW 3,657MW 3,703MW | 3,489MW 3,665MW 3,888MW 3,473MW | 16MW or 0.46% 260MW or 7.64% 231MW or 6.32% (230 MW or 6.21%) |
| MidAmerican | 1997 1998 1999 2000 | 3,464MW 3,698MW 3,604MW 3,804MW | 3,548MW 3,643MW 3,833MW 3,648MW | 84MW or 2.42% (5MW or 1.49%) 229MW or 6.35% (156MW or 4.1%) |
| Cooperatives& Municipalities | 1997 1998 1999 2000 1997-2000 | Co-ops: No info. No info. 738MW 677MW Munis: No info. | Co-ops: 796MW 684MW 674MW 671MW Munis: No info. | Co-ops: N/A N/A (64MW or 8.67%) (6MW or 0.88%) Munis: No info |

Exhibit 3:  Status of New Generation Facilities & Capacity

Since September 15, 2000

| Service Territory by Utility | New Generation Facilities That Have Come On Line Since 9/15/2000 | New Generation Facilities Under Construction Since 9/15/2000 Including Holding Company, Location, Primary Fuel & the Facilities Forecasted Generating MW Capacity |  |  |  | Announced New Generation Facilities Which Have Yet to Come Under Construction Since 9/15/2000 Including Holding Company, Location, Primary Fuel & the Facilities Forecasted Generating MW Capacity |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Ameren | None. | Holding Company Ameren Corp. Ameren Corp. Ameren Corp. Constellation Power Total: | Location: City or County Kindmundy Pinkneyville Grand Tower Holland Township | Primary Fuel/Use Natural Gas/P Natural Gas/P Natural Gas/I Natural Gas/I | MW Capacity 234MW 144MW 326MW 680MW 1,384MW | Holding Company Spectrum Energy Enerstar Entergy Entergy Entergy Utilcorp Reliant Energy Cinergy Utilcorp Ameren Corp. Ameren Corp. TXU Enviropower Southern Illinois Power Coop. Total: | Location: City or County St. Peter Newman Flora Thompsonville Louisville Flora Neoga Levan Flora Meredosia Unknown Benton Benton Marion | Primary Fuel/Use Natural Gas/P Natural Gas/P Natural Gas/P Natural Gas/P Natural Gas/P Natural Gas/P Natural Gas/P Natural Gas/P Natural Gas/P Natural Gas/I Natural Gas/P Coal/B Coal Waste/B Waste Coal/B | MW Capacity 45MW 362MW 600MW 588MW 588MW 300MW 135MW 330MW 200MW 306MW 330MW 1,000MW 500MW 120MW 5,404MW |

Exhibit 3:  Status of New Generation Facilities & Capacity

Since September 15, 2000 Cont.

| Service Territory by Utility | New Generation Facilities That Have Come On Line Since 9/15/2000 | New Generation Facilities Under Construction Since 9/15/2000 Including Holding Company, Location, Primary Fuel & the Facilities Forecasted Generating MW Capacity |  |  |  | Announced New Generation Facilities Which Have Yet to Come Under Construction Since 9/15/2000 Including Holding Company, Location, Primary Fuel & the Facilities Forecasted Generating MW Capacity |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CILCO ComEd | None. None. | Holding Company Altorfer Units Medina Valley Co. Duke Energy Constellation Power Reliant Wisvest Elwood Energy Peoples Energy NRG Total: | Location: City or County Groveland Mossville Lee Cook DuPage Cook Will Cook Kendall | Primary Fuel/Use Diesel Oil/P Natural Gas/B Natural Gas/P Natural Gas/P Natural Gas/P Natural Gas/P Natural Gas/P Natural Gas/P Natural Gas/C | MW Capacity 25.55MW 40 MW 640MW 300MW 878MW 300MW 755MW 300MW 1,100MW 4,673MW | Holding Company None. NRG El Paso Power Energy Duke Energy Ameren Energy Rolls Royce Energy PPL Global New Century Titan Land Dev. Skygen Alliant Duke Energy Northern Alternate Midwest Generation Kinder Morgan ABB Indeck Total: | Location: City or County None. Lee Kane Will Kankakee Cook Will Will Kendall Livingston Lake Cook Cook Lake Lake Lake DuPage Winnebago | Primary Fuel/Use None. Natural Gas/C Natural Gas/P Natural Gas/P Natural Gas/C Natural Gas/P Natural Gas/P Natural Gas/P Natural Gas/P Natural Gas/P Natural Gas/P Natural Gas/C Natural Gas/C Wind/P Natural Gas/P Natural Gas/P Natural Gas/C Natural Gas/P | MW Capacity None. 1,100MW 309MW 320MW 640MW 468MW 300MW 372MW 300MW 400MW 825MW 921MW 640MW 50MW 289MW 459MW 494MW 254MW 8,091MW |

Exhibit 3:  Status of New Generation Facilities & Capacity

Since September 15, 2000 Cont.

| Service Territory by Utility | New Generation Facilities That Have Come On Line Since 9/15/2000 | New Generation Facilities Under Construction Since 9/15/2000 Including Holding Company, Location, Primary Fuel & the Facilities Forecasted Generating MW Capacity |  |  |  | Announced New Generation Facilities Which Have Yet to Come Under Construction Since 9/15/2000 Including Holding Company, Location, Primary Fuel & the Facilities Forecasted Generating MW Capacity |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Illinois Power | None. | Holding Company None. | Location: City or County None. | Primary Fuel/Use None. | MW Capacity None. | Holding Company Aquila Aquila PSEG PP&L Panda Energy Corn Belt North American Hydro Total: | Location: City or County Piatt Washington Champaign Vermilion Jefferson Logan LaSalle | Primary Fuel/Use Natural Gas/P Natural Gas/P Natural Gas/C Natural Gas/C Natural Gas/C Coal/B Hydro/B | MW Capacity 350-500MW 300MW 580MW 528MW 1,070MW 91MW 5MW 2,924MW - 3,074MW |
| MidAmerican | None. | MidAmerican Holding Co. | Cordova | Natural Gas/I | 500MW | None. | None. | None. | None. |
| Cooperatives & Municipalities | Co-ops: None. Munis: 23MW | Co-ops: None. Munis: 22MW | Co-ops: None. Munis: No info. | Co-ops: None. Munis: No info. | Co-ops: None. Munis: No info. | Co-ops: SIPC Munis: No info. | Co-ops: No info. Munis: No info. | Co-ops: Natural Gas Munis: No info. | Co-ops: 150MW Munis: No info. |

This figure does not include interruptible load or delivery services from third parties.

This figure does not include interruptible load or delivery services from third parties.

The worst case peak for the summer of 2001 is modeled using the standard deviation at 95% confidence of the historical peak day mean temperature.  This figure does not include interruptible load and third party delivery services.

The worst case peak for the summer of 2001 utilizes the highest consumer UE-Ill peak demand over the past five years minus interruptible load.  This figure does not include delivery services from third parties.

The expected 2001 summer peak load is based on a model developed by Regional Economic Research, Inc., a leading provider of automated energy forecasting.  This figure does not include delivery services from third parties.

The worst case summer 2001 peak load is based on a scenario approach using actual weather that occurred for each year from 1970-1999. This figure does not include delivery services from third parties

The expected 2001 summer peak load is based on “normal weather” conditions.  This figure includes delivery services from third parties and approximately 100MW of interruptible power.

Based upon forecasted peak and includes estimates of delivery services from third parties.

The worst case summer 2001 peak load is based on extreme weather conditions, having a one in ten year likely occurrence.  This number includes delivery services from third parties.  This figure includes approximately 100MW of real-time pricing load response and 1200MW of curtailable load.

This figure includes retail load obtaining supply from Illinois Power, and does not include delivery services from third parties.  This figure includes approximately 100MW of interruptible power.

This figure does not include delivery services from third parties, and is based upon the possibility of the highest temperature experienced on a peak day within the past 20 years reoccurring this summer.

The expected 2001 summer peak load is based on normal weather conditions.  This number includes the net peak load including load reductions due to direct load control and interruptible loads.  This number does not include delivery services from third parties.

The worst case summer 2001 peak load is based on “hot weather” conditions.  This number includes the net peak load including load reductions due to direct load control and interruptible loads.  This number does not include delivery services from third parties.

All Cooperative statistics are for Southern Illinois Power Co-op., Soyland Power Co-op., Norris Electric Co-op.

This figure includes interruptible power and delivery services from third parties.

This figure includes interruptible power and delivery services from third parties.

The figures for Forecasted and Actual Peaks for the Summers of 1997-2000 are for AmerenCIPS only.

All of ComEd’s Actual Peak figures for the Summers of 1997-2000 include curtailments.

All of Illinois Power’s Actual Peak figures for the Summers of 1997-2000 include curtailments

This figure represents the hot-weather peak forecast based on the expected impact of El Nino.  The normal-weather peak forecast was 3,561MW, the difference between this figure and the actual peak was +82MW or +2.3%.

All Cooperative statistics are for Southern Illinois Power Co-op., Soyland Power Co-op., Norris Electric Co-op.

Note, all MW capacity varies depending upon ambient weather conditions.

Note, all MW capacity varies depending upon ambient weather conditions.

The primary use for the facilities are denoted as either: P/Peak Load Generation Facilities; I/Intermediate Load Generation Facilities; B/Base Load Generation Facilities; or C/Combined Cycle Generation Facilities.

The primary use for the facilities are denoted as either: P/Peak Load Generation Facilities; I/Intermediate Load Generation Facilities; B/Base Load Generation Facilities: ; or C/Combined Cycle Generation Facilities.

Note, all MW capacity varies depending upon ambient weather conditions.

Note, all MW capacity varies depending upon ambient weather conditions.

The primary use for the facilities are denoted as either: P/Peak Load Generation Facilities; I/Intermediate Load Generation Facilities; B/Base Load Generation Facilities; or C/Combined Cycle Generation Facilities.

This figure varies from 35-46MW depending upon the weather.

The primary use for the facilities are denoted as either: P/Peak Load Generation Facilities; I/Intermediate Load Generation Facilities; B/Base Load Generation Facilities; or C/Combined Cycle Generation Facilities.

Note, all MW capacity varies depending upon ambient weather conditions.

Note, all MW capacity varies depending upon ambient weather conditions.

The primary use for the facilities are denoted as either: P/Peak Load Generation Facilities; I/Intermediate Load Generation Facilities; B/Base Load Generation Facilities; or C/Combined Cycle Generation Facilities.

The primary use for the facilities are denoted as either: P/Peak Load Generation Facilities; I/Intermediate Load Generation Facilities; B/Base Load Generation Facilities; or C/Combined Cycle Generation Facilities.

This figure represents 22MW which will be available for use for the summer of 2002.